## Sheet1
S/N | LOCATION | MRF NUMBER | REQUEST DATE | YEAR | REASON FOR REQUEST | SERVICE\MATERIAL | DISCIPLINE | STATUS NOTES | COMPANY | CALL OFF NUMBER | REMARKS
1 | OB/OB | PH-169-2024 | 2024-08-14 | 2024 | MATERIALS REQUIRED FOR THE REPLACEMENT OF FAULTY MOTOR PROTECTION RELAY IN OBOB GAS PLANT, 540 MCB , 1680-PA-01B E-MOTOR PUMP | MOTOR PROTECTION RELAYAUX. VOLTAGE: 80…265 Vac/dcMODEL: M915NP900TYPE: NP-M915-PHOBABA-AAAMAKE | ELECTRICAL |  | WIRETEKS | AWAITING QUOTATION
2 | KWALE | PHC-175-2024 | 2024-10-11 | 2024 | MATERIALS REQUIRED FOR INSTALLATION OF 300KVA TRANSFORMER | 6FT EARTH ROD COPPER, 70 MM2 BAE COPPER CABLE, INDUSTRIAL SALT 25KG, CHARCOAL 50KG, 6FT GALVANIZES PIPE, 70MM2 CABLE LUGS COPPER | ELECTRICAL |  | T. Valton | AWAITING UPDATE FROM IYEH
3 | LAR | PHC-176-2024 | 2024-10-11 | 2024 | MATERIALS REQUIRED FOR CORRECTIVE MAINTENANCE OF TRANSFORMER PROTECTION SYSTEM IN LAR HOST COMMUNITIES | 11KV LIGHTENING ARRESTORS, 1C X300mmsq ARMOURED CABLE 1KV, 500A FEEDER FUSE…ETC | ELECTRICAL |  | T. Valton | AWAITING UPDATE FROM IYEH
4 | LAR | PHC-177-2024 | 2024-10-11 | 2024 | MATERIALS REQUIRED FOR CORRECTIVE MAINTENANCE OF TRANSFORMER PROTECTION SYSTEM IN LAR HOST COMMUNITY SUBSTATION(STONE VILLAGE) | 3C X 50mmsq XPLE CABLE 11KV(RISER CABLE), 3C X 50mmsq 11KV RAYCHEM KIT OUTDOOR, 50MMSQ CABLE LUGS, COPPER…ETC | ELECTRICAL |  | T. Valton | AWAITING UPDATE FROM IYEH
5 | KWALE | PHC - 200 - 2024 | 2024-11-13 | 2024 | TO REPAIR AND FACILITATE THE FULL FUNCTIONALITY OF 33KV, 630A OUTDOOR BREAKER IN THE 33KV KGP COMMUNITY SWITCHYARD | 33KV, 630A OUTDOOR BREAKER IN THE 33KV KGP COMMUNITY SWITCHYARD | ELECTRICAL